◎ Table of Contents ◎

CHAPTER 1 Overview……………………………………………………………1-1 ~ 1-4

1.1 Characteristics……………………………………………………………………1 - 1

1.2 Purpose of Positioning Control………………………………………………1 - 3

1.3 Signal Flow of Positioning Module……………………………………………1 - 4

CHAPTER 2 Specification…………………………………………………………2-1 ~ 2-9

2.1 General Specification…………………………………………………………… 2 - 1

2.2 Performance Specification………………………………………………………2 - 2

2.3 External Interface I/O Specification……………………………………………2 - 3

2.3.1 Input Specification…………………………………………………………………2 - 3

2.3.2 Output Specification………………………………………………………………2 - 4

2.3.3 External Machine and Interface Specification………………………………………2 - 5

1) Pin layout of connector…………………………………………………………… 2 - 5

2) Internal circuit of connector…………………………………………………………2 - 6

2.4 The Name and Function of each Section…………………………………… 2 - 8

CHAPTER 3 Function…………………………………………………………… 3-1 ~ 3-74

3.1 Positioning Control………………………………………………………………3 - 1

3.1.1 Position Control………………………………………………………………… 3 - 1

- Control by Absolute Method (Absolute Coordinates)…………………………… 3 - 1

- Control by Incremental Method (Relative Coordinates)……………………………3 - 2

3.1.2 Interpolation Control………………………………………………………………3 - 3

- 2 axis linear interpolation control…………………………………………………3 - 3

- 3 axis linear interpolation control…………………………………………………3 - 6

- 2 axis circular arcs interpolation control………………………………………… 3 - 8

3.1.3 Speed Control……………………………………………………………………3 - 15

3.1.4 Speed/Position Conversion Control …………………………………………… 3 - 17

3.1.5 Position/Speed Conversion Control …………………………………………… 3 - 18

3.2 Operating Mode………………………………………………………………… 3 - 20

3.2.1 End Operation (Single)…………………………………………………………3 - 21

3.2.2 End Operation (Repeat)…………………………………………………………3 - 23

3.2.3 Go-on Operation…………………………………………………………………3 - 25

3.2.4 Continuous Operation……………………………………………………………3 - 26

3.3 Positioning Start  ………………………………………………………………3 - 27

3.3.1 General Start……………………………………………………………………3 - 27

- Program Start …………………………………………………………………3 - 27

- Start by External Input Signal………………………………………………… 3 - 27

3.3.2 Simultaneous Start………………………………………………………………3 - 27

3.3.3 Synchronous Start………………………………………………………………3 - 28

- Position Synchronous Start……………………………………………………3 - 28

- Speed Synchronous Start…………………………………………………… 3 - 28

3.3.4 Linear Interpolation Start……………………………………………………… 3 - 29

  - 2 axis linear interpolation control……………………………………………… 3 - 29

  - 3 axis linear interpolation control……………………………………………… 3 - 29

3.3.5 Circular Arcs Interpolation Start………………………………………………… 3 - 30

- Circular interpolation by central point……………………………………………3 - 30

- Circular interpolation by middle point……………………………………………3 - 32

3.4 Positioning Stop……………………………………………………………… 3 - 33

3.4.1 Stop Command and Causes…………………………………………………… 3 - 33

3.4.2 Stop Process and Priority ………………………………………………………3 - 35

3.4.3 Interpolation Stop……………………………………………………………… 3 - 36

3.4.4 Emergency Stop ……………………………………………………………… 3 - 36

3.5 Reset after Positioning Stop………………………………………………… 3 - 37

3.6 Return to the Origin…………………………………………………………… 3 - 37

3.6.1 How to return to the origin……………………………………………………… 3 - 37

3.6.2 The origin detection after approximate origin OFF…………………………………3 - 38

3.6.3 The origin detection after deceleration when approximate origin ON……………… 3 - 40

3.6.4 The origin detection by the origin and High-low limit………………………………3 - 41

3.6.5 The origin detection by approximate origin ………………………………………3 - 42

3.6.6 High speed origin return…………………………………………………………3 - 43

3.7 Manual Operation……………………………………………………………… 3 - 44

3.7.1 Jog Operation……………………………………………………………………3 - 44

3.7.2 Manual Pulse Generator Operation…………………………………………… 3 - 46

3.7.3 Inching Operation………]………………………………………………………3 - 48

3.7.4 Return to the position before manual operation…………] ………………………3 - 49

3.8 Speed Change during Positioning Operation………………………………3 - 50

3.8.1 Speed Override Command………………………………………………………3 - 50

3.8.2 Operation Step Number Change by Continuous Operation………………………3 - 51

3.8.3 Positioning Speed Override Command……………………………………………3 - 53

3.9 Position Change during Positioning Operation……………………………3 - 54

3.9.1 Position Change by Position Override……………………………………………3 - 54

3.10 Stroke High-Low Limit…………………………………………………………3 - 55

3.10.1 External Input Stroke High-Low Limit……………………………………………3 - 55

3.10.2 Software Stroke High-Low Limit…………………………………………………3 - 56

3.11 Random Position Address Value Setting on the origin and the Change of

Current Position………………………………………………………………3 - 57

3.11.1 Random Position Address Value Setting on the origin …………………………3 - 57

3.11.2 The Change of Current Position…………………………………………………3 - 57

3.12 Floating Origin Setting………………………………………………………3 - 58

3.13 Teaching ……………………………………………………………………… 3 - 58

3.13.1 RAM Teaching and ROM Teaching…………………………………………… 3 - 58

3.13.2 Single Teaching ……………………………………………………………… 3 - 59

3.13.3 Plural Teaching ……………………………………………………………… 3 - 60

3.14 Start Step Number Chang……………]………………………………………3 - 61

3.15 Skip Operation[APM_SKP] ……………………………………………………3 - 62

3.16 Starting Step Number Change during Repeating Operation…………3 - 63

3.17 M Code ………………………………………………………………………… 3 - 63

3.18 Parameter Change in Program………………………………………………3 - 65

3.18.1 Basic Parameter Setting………………………………………………………3 - 65

3.18.2 Expansion Parameter Setting………………………………………………… 3 - 66

3.18.3 Origin Return Parameter Setting………………………………………………3 - 67

3.18.4 Manual Operation Parameter Setting………………………………………… 3 - 68

3.18.5 Common Parameter Setting……………………………………………………3 - 69

3.19 Operation Data Setting………………………………………………………3 - 70

3.20 Encoder Preset…………………………………………………………………3 - 71

3.21 Error and Output Prohibition…………………………………………………3 - 72

3.22 Zone Output…………………………………………………………………… 3 - 73

3.23 Point Operation……………………………………………………………… 3 - 74

CHAPTER 4 Software Package…………………………………………………4-1 ~ 4-30

4.1 APM Software Package Installation and Removal…………………………4 - 1

4.1.1 APM Software Package Installation Processing………………………………… 4 - 1

4.1.2 APM Software Package Removal Processing……………………………………4 - 3

4.2 APM Software Package Basic Structure and Function List……………4 - 4

4.2.1 APM Software Package Basic Display … ………………………………………4 - 4

4.2.2 APM Software Package Function List ……………………………………………4 - 5

4.3 Working Display…………………………………………………………………4 - 6

4.3.1 Make Working Display……………………………………………………………4 - 6

4.3.2 Save Working Display……………………………………………………………4 - 6

4.3.3 Structure of Working Display…………………………………………………… 4 - 7

4.4 Offline and Online Model Setting……………………………………………4 - 8

4.4.1 Offline Model Setting ……………………………………………………………4 - 8

4.4.2 Online Model Setting…………………………………………………………… 4 - 8

4.5 Operation Parameter and Operation Data Setting……………………… 4 - 11

4.5.1 Operation Parameter Setting……………………………………………………4 - 11

4.5.2 Operation Data Setting…………………………………………………………4 - 12

4.6 Command Command………………………………………………………… 4 - 16

4.6.1 Command Command………………………………………………………… 4 - 16

4.7 Monitoring Run…………………………………………………………………4 - 19

4.7.1 Monitoring…………………………………………………………………… 4 - 19

4.8 Tracking Run …………………………………………………………………4 - 21

4.8.1 Tracking………………………………………………………………………4 - 21

4.9 Data Read/Write Function …………………………………………………4 - 24

4.9.1 Data Read/Write ……………………………………………………………4 - 24

4.10 Simulation Function………………………………………………………4 - 25

4.10.1 Profile Simulation……………………………………………………………4 - 25

4.10.2 Circular Interpolation Simulation……………………………………………4 - 26

4.11 State Display, External I/O signal and Error History Function……4 - 28

4.11.1 State Display…………………………………………………………………4 - 28

4.11.2 External I/O Signal Function………………………………………………… 4 - 28

4.11.3 Error History Function…………………………………………………………4 - 29

4.12 Printing Function ……………………………………………………………4 – 30

4.12.1 Print…………………………………………………………………………4 - 30

4.13 Environment Setting Function…………………………………………… 4 – 31

4.11.1 Environment Setting Function …………………………………………………4 - 31

4.14 Others …………………………………………………………………………4 - 32

4.14.1 System Check Function………………………………………………………4 - 32

4.14.2 Error History File Writing Function……………………………………………4 - 32

CHAPTER 5 Positioning Parameter & Operation Data……………………5-1 ~ 5-26

5.1 Basic Parameter ………………………………………………………………5 - 2

5.1.1 Unit ………………………………………………………………………5 - 3

5.1.2 Number of pulse per 1 rotation………………………………………………5 - 3

5.1.3 Transfer distance per 1 rotation and unit allocation……………………………5 - 3

5.1.4 Pulse Output Mode ……………………………………………………………5 - 4

5.1.5 Bias Speed……………………………………………………………………5 - 5

5.1.6 Speed Limit ………………………………………………………………5 - 6

5.1.7 Acceleration/Deceleration Time………………………………………………5 - 6

5.2 Expansion Parameter…………………………………………………………5 - 7

5.2.1 S/W High-Low Limit……………………………………………………………5 - 8

5.2.2 Backlash Compensation Amount………………………………………………5 - 8

5.2.3 Position Completion Output Time…………………………………………5 - 9

5.2.4 External Command Selection………………………………………………… 5 - 10

5.2.5 Pulse Output Direction…………………………………………………………5 - 10

5.2.6 M Code Output ……………………………………………………………… 5 - 11

5.2.7 External Command…………………………………………………………… 5 - 13

5.2.8 External Stop …………………………………………………………………5 - 13

5.2.9 External Simultaneous Start……………………………………………………5 - 13

5.2.10 External Speed/Speed switching …………………………………………… 5 - 13

5.2.11 Equal Speed Operation S/W High-Low Limit……………………………………5 - 13

5.2.12 Position during Equal Speed Operation ………………………………………5 - 13

5.2.13 Acceleration/Deceleration Pattern…………………………………………… 5 - 14

5.2.14 S-Curve Rate…………………………………………………………………5 - 14

5.3 Origin/Manual Parameter…………………………………………………… 5 - 15

5.3.1 Origin return method……………………………………………………………5 - 16

5.3.2 The origin return direction …………………………………………………… 5 - 16

5.3.3 The Origin Address……………………………………………………………5 - 16

5.3.4 The Origin Compensation Amount………………………………………………5 - 17

5.3.5 High Speed Origin Return………………………………………………………5 - 17

5.3.6 Low Speed Origin Return………………………………………………………5 - 17

5.3.7 Waiting Time of Resetting………………………………………………………5 - 18

5.3.8 Acceleration/Deceleration Time…………………………………………………5 - 18

5.3.9 Dwell Time…………………………………………………………………… 5 - 18

5.3.10 JOG High Speed …………………………………………………………… 5 - 18

5.3.11 JOG Low Speed …………………………………………………………… 5 - 18

5.3.12 JOG Acceleration/Deceleration Time………………………………………… 5 - 18

5.3.13 Inching Speed……………………………………………………………… 5 - 18

5.4 Common Parameter………………………………………………………………5 - 19

5.4.1 Pulse Output Level…………………………………………………………… 5 - 20

5.4.2 Circular Interpolation Method………………………………………………… 5 - 21

5.4.3 Encoder Input Signal………………………………………………………… 5 - 21

5.4.4 Auto Reload……………………………………………………………………5 - 21

5.4.5 Z-shape Clear …………………………………………………………………5 - 21

5.4.6 Zone Output……………………………………………………………………5 - 21

5.5 Operation Data …………………………………………………………………… 5 - 23

5.5.1 Step Number …………………………………………………………………5 - 23

5.5.2 Coordinates ………………………………………………………………… 5 - 24

5.5.3 Control Method(Position/Speed) ………………………………………………5 - 25

5.5.4 Operation Pattern(End/Go on/Continue) ………………………………………5 - 25

5.5.5 Operation Method(Single/Repeat) …………………………………………… 5 - 25

5.5.6 Goal Position………………………………………………………………… 5 - 26

5.5.7 M Code……………………………………………………………………… 5 - 26

5.5.8 Acceleration/Deceleration Number………………………………………………5 - 26

5.5.9 Operation Speed………………………………………………………………5 - 26

5.5.10 Dwell Time ………………………………………………………………… 5 - 26

CHAPTER 6 Software Package Startup ……………………………………6-1 ~ 6-15

6.1 Display Configuration for Startup………………………………………… 6 - 1

6.1.1 Command 1 Display Configuration………………………………………………6 - 1

6.1.2 Command 2 and PST Display Configuration……………………………………6 - 2

6.1.3 Monitoring Display Configuration …………………………………………… 6 - 2

6.1.4 External I/O Signal………………………………………………………………6 - 3

6.1.5 State Display…………………………………………………………………6 - 3

6.1.6 Error Message …………………………………………………………………6 - 3

6.2 Startup Mode……………………………………………………………………6 - 4

6.2.1 Command Axis Selection……………………………………………………… 6 - 4

6.2.2 Execute…………………………………………………………………………6 - 4

6.2.3 Startup by Software Package ……………………………………………………6 - 4

6.2.4 Jog Operation by Software Package…………………………………………… 6 - 5

6.2.5 Teaching Operation by Software Package……………………………………… 6 - 5

6.2.6 Point Operation by Software Package ………………………………………… 6 - 6

6.3 Command Icon………………………………………………………………… 6 - 7

6.4 Software Package Startup Examples………………………………………6 - 8

6.4.1 Origin Return ………………………………………………………………… 6 - 8

6.4.2 Indirect Setting………………………………………………………………… 6 - 9

6.4.3 External Simultaneous Start……………………………………………………6 - 11

6.4.4 Circular Arcs Interpolation………………………………………………………6 - 12

6.4.5 Speed Synchronization……………………………………………………… 6 - 13

6.4.6 Teaching(Array)……………………………………………………………… 6 - 14

6.4.7 Point Operation…………………………………………………………………6 - 15

CHAPTER 7 Function Block…………………………………………………7-1 ~ 7-34

7.1  Function Block Registration for Positioning Module in GMWIN…… 7 - 2

7.1.1 Registration Procedure of Function Block…………………………………………7 - 2

7.1.2 Common Items of Function Block…………………………………………………7 - 2

7.2 Function Block for Module Information Reading…………………………7 - 3

7.2.1 Current Operation State Code Information Read………………………………… 7 - 3

7.2.2 Current Operation State Bit Information Read…………………………………… 7 - 3

7.3 Function Block for Parameter Setting………………………………………7 - 4

7.3.1 Basic Parameter Setting…………………………………………………………7 - 4

7.3.2 Expansion Parameter Setting……………………………………………………7 - 5

7.3.3 Common Parameter Setting ……………………………………………………7 - 6

7.3.4 Origin Return Parameter Setting…………………………………………………7 - 7

7.3.5 Manual Operation Parameter Setting…………………………………………… 7 - 8

7.4 Function Block for Operation Data Setting………………………………7 - 9

7.4.1 Operation Data Setting………………………………………………………… 7 - 9

7.5 Function Block for Automatic Operation…………………………………7 - 10

7.5.1 Origin Return Start……………………………………………………………7 - 10

7.5.2 Direct Start……………………………………………………………………7 - 10

7.5.3 Indirect Start……………………………………………………………………7 - 11

7.5.4 Linear Interpolation Start………………………………………………………7 - 11

7.5.5 Circular Arcs Interpolation Start…………………………………………………7 - 12

7.5.6 Simultaneous Start……………………………………………………………7 – 12

7.5.7 PTP Start………………………………………………………………………7 - 24

7.6 Function Block for Manual Operation……………………………………7 - 13

7.6.1 Jog Operation………………………………………………………………… 7 - 13

7.6.2 Inching Operation………………………………………………………………7 - 13

7.6.3 Manual Pulse Operation……………………………………………………… 7 - 14

7.6.4 Return to the position before manual operation…………………………………7 - 14

7.7 Function Block for Auxiliary Operation……………………………………7 - 15

7.7.1 Position Synchronization……………………………………………………… 7 - 15

7.7.2 Speed Synchronization…………………………………………………………7 - 15

7.7.3 Position Override………………………………………………………………7 - 16

7.7.4 Speed Override ………………………………………………………………7 - 16

7.7.5 Position/Speed Override …………………………………………………… 7 - 17

7.7.6 Position/Speed switching Control………………………………………………7 - 17

7.7.7 Speed/Position switching Control …………………………………………… 7 - 17

7.7.8 Skip Operation…………………………………………………………………7 - 18

7.7.9 Continuous Operation………………………………………………………… 7 - 18

7.7.10 Setting Step Number Designation…………………………………………… 7 - 18

7.7.11 Start Step Number Designation in case of Repeat Operation…………………7 - 19

7.7.12 Stop………………………………………………………………………… 7 - 19

7.8 Function Block for Teaching……………………………………………… 7 - 20

7.8.1 Position/Speed Teaching Function Block - Single……………………………… 7 - 20

7.8.2 Position/Speed Teaching Function Block - Plural……………………………… 7 - 20

7.9 Function Block for Error……………………………………………………7 - 21

7.9.1 Emergency Stop……………………………………………………………… 7 - 21

7.9.2 Error Reset/Release of Output Prohibition………………………………………7 - 21

7.10 Other Function Block………………………………………………………7 - 22

7.10.1 Zone Output Permitted……………………………………………………… 7 - 22	7.10.2 M Code OFF …………………………………………………………………7 - 22

7.10.3 Preset……………………………………………………………………… 7 - 23

7.10.4 Floating Origin……………………………………………………………… 7 - 23

7.10.5 Encoder Preset………………………………………………………………7 - 23

7.10.6 Encoder Value Read…………………………………………………………7 - 24

7.11 Error Code on Function Block …………………………………………7 - 24

CHAPTER 8 Internal Memory and I/O Signal………………………………8-1 ~ 8-17

8.1 Internal Memory………………………………………………………………8 - 1

8.1.1 Basic Parameter………………………………………………………………8 - 1

8.1.2 Expansion Parameter…………………………………………………………8 - 2

8.1.3 Manual Operation Parameter…………………………………………………8 - 3

8.1.4 Origin Return Parameter……………………………………………………8 - 3

8.1.5 Common Parameter……………………………………………………………8 - 4

8.1.6 Operation Data…………………………………………………………………8 - 5

8.1.7 Command Information…………………………………………………………8 - 7

8.1.8 State Information………………………………………………………………8 - 9

8.2 I/O Signal ………………………………………………………………………8 - 13

8.2.1 Contents of I/O Signal…………………………………………………………8 - 13

8.2.2 Use of I/O Signal …………………………………………………………… 8 - 14

CHAPTER 9 Command ……………………………………………………… 9-1 ~ 9-18

9.1 Contents of Command Code……………………………………………9 - 1

9.2 Use of Command Code……………………………………………………9 - 2

9.2.1 Origin Return Start……………………………………………………………9 - 2

9.2.2 Floating Origin Setting………………………………………………………9 - 2

9.2.3 Direct Start………………………………………………………………… 9 - 3

9.2.4 Indirect Start……………………………………………………………… 9 - 3

9.2.5 Linear Interpolation Start …………………………………………………9 - 4

9.2.6 Circular Arcs Interpolation Start………………………………………………9 - 4

9.2.7 Simultaneous Start……………………………………………………………9 - 5

9.2.8 Speed/Position switching ……………………………………………………9 - 5

9.2.9 Position/Speed switching ……………………………………………………9 - 5

9.2.10 Stop…………………………………………………………………………9 - 6

9.2.11 Skip Operation………………………………………………………………9 - 6

9.2.12 Position Synchronization………………………………………………………9 - 6

9.2.13 Speed Synchronization………………………………………………………9 - 7

9.2.14 Position Override……………………………………………………………9 - 8

9.2.15 Speed Override ………………………………………………………………9 - 8

9.2.16 Positioning Speed Override……………………………………………………9 - 9

9.2.17 Continuous Operation…………………………………………………………9 - 9

9.2.18 Inching Start…………………………………………………………………9 - 9

9.2.19 Automatic Operation Point Return Function……………………………………9 - 10

9.2.20 Start Step Number Change……………………………………………………9 - 10

9.2.21 Repeat Step Number Change…………………………………………………9 - 10

9.2.22 M code release………………………………………………………………9 - 11

9.2.23 Current Position Preset………………………………………………………9 - 11

9.2.24 Zone Output Permitted………………………………………………………9 - 11

9.2.25 Zone Output Prohibited …………………………………………………… 9 - 12

9.2.26 Encoder Preset …………………………………………………………… 9 - 12

9.2.27 Single Teaching………………………………………………………………9 - 12

9.2.28 Array Teaching……………………………………………………………… 9 - 13

9.2.29 Basic Parameter Setting………………………………………………………9 - 14

9.2.30 Expansion Parameter Setting…………………………………………………9 - 14

9.2.31 Origin Return Parameter Setting………………………………………………9 - 15

9.2.32 Manual Operation Parameter Setting………………………………………… 9 - 15

9.2.33 Common Parameter Setting………………………………………………… 9 - 16

9.2.34 Operation Data Setting……………………………………………………… 9 - 16

9.2.35 Emergency Stop …………………………………………………………… 9 - 17

9.2.36 Error Reset, Release of Output Prohibition…………………………………… 9 - 17

9.2.37 Error History Reset……………………………………………………………9 - 17

9.2.38 Point Operation ………………………………………………………………9 - 18

CHAPTER 10 GM Program……………………………………………… 10-1 ~ 10-12

10.1 Before Program………………………………………………………………10 - 1

10.2 Basic Program……………………………………………………………… 10 - 2

10.3 Application Program…………………………………………………………10 - 3

10.3.1 End Operation, Go-on Operation, Continuous Operation Positioning……………10 - 3

10.3.2 Positioning by M Code………………………………………………………10 - 5

10.3.3 2 axis linear interpolation………………………………………………………10 - 7

10.3.4 Position Teaching by MMI…………………………………………………… 10 - 9

10.3.5 Position Teaching by Jog Operation and Inching Operation …………………10 - 10

10.3.6 Positioning Speed Change, Next Move………………………………………10 - 11

CHAPTER 11 MK Program……………………………………………… 11-1 ~ 11-50

11.1 Before using the Program  ………………………………………………11 - 1

11.2 Basic Program  ……………………………………………………………11 - 2

11.2.1 Basic(Floating Origin Setting)…………………………………………………11 - 2

11.2.2 Basic(Linear Interpolation Start-Floating Origin Setting)………………………11 - 3

11.2.3 Basic(Circular Arcs Interpolation Start-Floating Origin Setting)…………………11 - 5

11.2.4 Deceleration Stop(Origin Return)………………………………………………11 - 7

11.2.5 Single Operation(Operation Step Number Designation)…………………………11 - 8

11.2.6 Single Operation(by External Input Signal)…………………………………… 11 - 9

11.2.7 Equal Speed Operation(Operation Step Number Designation)…………………11 - 10

11.2.8 Simultaneous Start………………………………………………………… 11 - 11

11.2.9 Position Synchronous Start………………………………………………… 11 - 12

11.2.10 Speed Synchronous Start………………………………………………… 11 - 13

11.2.11Emergency Stop …………………………………………………………11 -15

11.2.12Jog Operation …………………………………………………………… 11 - 16

11.2.13 Manual Pulse Generator (or Encoder Operation)……………………………11 - 17

11.2.14 Inching Operation …………………………………………………………11 - 18

11.2.15 Move to the Position before Manual Operation………………………………11 - 19

11.2.16 Speed Override ………………………………………………………… 11 - 20

11.2.17 Position Override………………………………………………………… 11 - 21

11.2.18 Positioning Speed Override…………………………………………………11 - 22

11.2.19 Operation Step Number Change by Continuous Operation………………… 11 - 23

11.2.20 Skip Operation ……………………………………………………………11 - 24

11.2.21 Operation Step Change in Repeat Operation………………………………11 - 25

11.2.22 Current Position Change……………………………………………………11 - 26

11.2.23 Speed Teaching ………………………………………………………… 11 - 27

11.2.24 Position Teaching………………………………………………………… 11 - 28

11.2.25 Parameter Change…………………………………………………………11 - 29

11.2.26 M Code Mode  ……………………………………………………………11 - 31

11.2.27 Zone Setting ………………………………………………………………11 - 32

11.2.28 Operation Data Setting…………………………………………………… 11 - 33

11.2.29 Point Operation(Origin Return)…………………………………………… 11 - 34

11.3 Application Program………………………………………………………11 - 36

11.3.1 Position/Speed Teaching by MMI  ………………………………………… 11 - 36

11.3.2 End Operation, Go-on Operation, Continuous Operation Positioning………… 11 - 39

11.3.3 Positioning by M Code   ……………………………………………………11 - 41

11.3.4 2 axis linear interpolation operation………………………………………… 11 - 43

11.3.5 Position Teaching by Jog Operation and Inching Operation……………………11 - 45

11.3.6 Speed Change, Next Move … …………………………………………… 11 - 48

CHAPTER 12 Operation Order and Installation……………………………12-1 ~ 12-8

12.1 Operation Order………………………………………………………………12 - 1

12.2 Installation……………………………………………………………………12 - 2

12.2.1 Installation Environment………………………………………………………12 - 2

12.2.2 Cautions in Handling …………………………………………………………12 - 2

12.3 Wiring………………………………………………………………………… 12 - 2

12.3.1 Cautions in Wiring……………………………………………………………12 - 2

12.3.2 Connection with Servo and Stepping Motor Driver…………………………… 12 - 3

1) Connection with MR-HA(Line Drive) …………………………………………12 - 3

2) Connection with MR-J2/J2S-A(Line Drive)…………………………………… 12 - 4

3) Connection with MR-JA(Line Drive)……………………………………………12 - 5

4) Connection with MR-CA(Line Drive)……………………………………………12 - 6

5) Connection with MINAS A series (Line Drive)……………………………………12 - 7

6) Connection with PYO series (Line Drive)……………………………………… 12 - 7

7) Connection with CACR(R series)(Line Drive)……………………………………12 - 8

8) Connection with VEXTA UDX2107…………………………………………… 12 - 9

9) Connection with VEXTA UPD…………………………………………………12 - 10

10) Connection with VEXTA-FX…………………………………………………12 - 11

11) Connection with FDA-3000 AC Servo Driver(Open Collector)…………………12 - 12

12) Connection with FDA-5000 AC Servo Driver (Open Collector)…………………12 - 12

13) Connection with FDA-5000 AC Servo Driver (Open Collector)…………………12 - 13

14) SGDA-□□□P Connection Example  ………………………………………12 - 14

APPENDIX 1 Positioning Terminology…………………………APP.1-1 ~ APP.1-12

APPENDIX 2 Operation Data Internal Memory Address……APP.2-1 ~ APP.2-12

1) Internal Memory Address of X axis Operation Data…………………………APP.2 - 1

2) Internal Memory Address of Y axis Operation Data…………………………APP.2 - 5

3) Internal Memory Address of Z axis Operation Data…………………………APP.2 - 9